Nanoparticle Handling Guidelines

Background

Nanoparticles are ultrafine particles measuring between 1-100 nanometers (nm) in one dimension. In addition to the novel size of nanoparticles or structures, uses are also derived from the composition of the nanoparticles, which can be chemical or biological.  Concerns with safety regarding the use of nanotechnology have arisen primarily from the recognition of several unique attributes of nanoparticles:

- The ultra-small particle size permits the particles to be carried deeply into tissues.  Particles may be deeply respired into the lungs, may pass through the blood-brain barrier; or translocate between organs.

- The molecular structure of nanoparticles and the relatively greater surface area confer on these particles different chemical and biological reactivities than larger structures made from the same elements or molecules.

Although insufficient information exists to predict the heath hazard posed by the exposure to nanoparticles, and such effects will vary depending on the composition of the nanoparticles, current research indicates that exposure via inhalation and skin contact can result in these particles entering the body.  Results from human and animal studies show inhaled nanoparticles can deposit in the respiratory tract.  Animal studies also show nanoparticles can enter the bloodstream and translocate to other organs.  Nanoparticles have the greatest potential to enter the body if they become airborne or come into contact with the skin, eyes or mucous membranes.  Some evidence suggests that nanoparticles may be more toxic to tissues than larger molecular structures.  Exposure to nanoparticles carrying genetic material may result in genetic or immunologic effects.  Exposure to nanoparticles carrying infectious agents may cause infectious diseases.

NIOSH, the NIH, and the EPA promote the incorporation of cautionary measures in research to minimize or eliminate exposures to nanoparticles.  According to NIOSH, the following workplace tasks may increase the risk of exposure to nanoparticles:

- Working with nanoparticles in liquid media without adequate protection (e.g., gloves, safety glasses) will increase the risk of skin or eye exposure.

- Working with nanoparticles in liquid media during pouring or mixing operations, or where a high degree of agitation is involved, will lead to an increased likelihood of inhalation of  respirable droplets which may be formed.

- Generating nanoparticles in the gas phase in non-enclosed systems will increase the chances of aerosol release to the workplace.

- Handling nano-structured powders will lead to the possibility of aerosolization.

Control Procedures

While the health risks from exposure to nanoparticles are not well known and will vary depending on the composition of the particles, work practices and engineering control procedures to prevent exposure are well understood.  The following are minimum engineering, work practice and ventilation controls required when handling nanoparticles to reduce potential exposure:

- Lab coats must be worn.  Lab coats must be laundered using University provided lab coat laundry services.  Lab coats may not be taken to private homes and laundered.

- Gloves must be worn when handling nanomaterials.  Because skin penetration is a concern, gloves must cover the wrist and any skin on the arm exposed by the lab coat.

- Arm sleeves are required where high levels of exposure or splashes of solutions containing nanoparticles are anticipated.

- Standard safety glasses should be worn.

- Whenever possible, work should be performed in a chemical fume hood or biological safety cabinet.  When work with nanoparticles must be performed outside a hood or cabinet, safety goggles instead of safety glasses should be worn to prevent eye exposure.  Respirators may be required for activities that cannot be controlled using ventilation.

  - Dry nano-materials must be handled in a fume hood or biological safety cabinet. Work on the open bench with dry nanoparticles is not allowed.

  - Aerosol producing activities (such as sonication, vortexing and centrifuging) may not be conducted on the open bench.

  - Activities that are likely to release nanoparticles (such as the opening and emptying of tubes, weighing of dry nano particles) shall not be performed on the open bench.

  - Solutions containing nanoparticles should be handled over disposable bench covers.

- Transport of dry nanoparticles should occur in closed containers.

- Hand washing facilities must be provided in all labs.  Hand washing must be performed after handling nano-materials.

- Bench tops and other surfaces should be cleaned after each work activity using a cleaning solution suitable for the type of nanoparticles being used.

- Administration of nanoparticles using needles/syringes should be done using a safe needle device whenever available.  Such devices minimize the potential for a needlestick either by having a sliding sheath or guard that covers needle after use or having a retraction feature which isolates the needle inside the syringe.  Only needle-locking syringes or disposable syringe-needle units (i.e., needle is integral to the syringe) may be used for the injection of nanoparticles containing recombinant DNA molecules.

OUHSC Committee Approvals

Protocols involving the administration of nanoparticles to animals requires Institutional Animal Care and Use Committee (IACUC) approval.  Depending on the composition of the nanoparticles, Section M (for nanoparticles carrying genetic material) or Section N (for all other nanoparticles) must be completed on the IACUC form.  Standard Operating Procedures (SOPs) for the preparation and administration of the nanoparticles must be developed and submitted in the appropriate section of the form.

Protocols involving the administration of nanoparticles containing genetic material to either animals or humans requires Institutional Biosafety Committee (IBC) approval.  SOPs for the preparation and administration of the nanoparticles must be developed and submitted with the protocol.

Protocols involving the administration of nanoparticles to humans requires Institutional Review Board (IRB) approval.

The guidelines given in this document are minimum precautions.  Because the composition and use of nanoparticles will vary from project to project, additional precautions or procedures may be imposed by these Committees based on the review of the proposal and potential risks identified for that project.